TOWNSHIP OF MILLSTONE

Construction Department

County of Monmouth

470 Stagecoach Road					               Millstone Township, NJ 08510

Phone (732) 917-2953

Fax (609) 208-2083

REMOVAL OF UNDERGROUND OIL TANKS

RESIDENTIAL

- Tank to be uncovered.

- Top of tank to be removed, interior to be cleaned and free of all sludge.

- Tank to be removed from excavation.

- Inspection to observe the following;

  - Interior of tank cleaned.

  - Integrity of tank (holes in tank).

  - Bottom of excavation to be viewed for any evidence of petroleum products

- Following documentation must be provided for closure of permit

  - Sludge dump ticket from licensed hauler.

  - Tank dump ticket from scrap metal dealer.

- If tank has leaked or has any evidence of oil within excavation, DEP must be notified immediately with proper remediation to follow. Case # from DEP to be provided with ultimately a NFA letter when site is cleaned.